
	[image: image1.jpg]



	Industrial Processes Automation

MSc in Electrical and Computer Engineering

Scientific Area of Systems, Decision, and Control

Winter Semester 2016/2017

	
	Group: ____

__-_____

__-_____

__-_____

__-_____

__/__/2016


1st Training Laboratory Work 

“Majority” Circuit

The main objective of the 1st training laboratory is to allow the participants to get familiar with the Programmable Logic Controllers (PLCs) Schneider Premium P57 available in the laboratory. In particular are relevant: a) Using the software development system, b) Setting the PLC initial configuration, c) Using the user manuals from Schneider, d) Uploading / downloading programs to/from the PLC, e) Editing and debugging solutions, f) Interfacing with external devices.

Note: Please print and bring this guide to the laboratory. Despite not being graded, it is important to fill and deliver it in the end of the class so that it provides some feedback on the acquaintance obtained in the lab with the hardware.

The “majority” circuit is composed by an even number of inputs (to be detailed) and one output. The purpose of this circuit is to output the logical value ‘1’ whenever the number of inputs with value ‘1’ is greater than the ones with value ‘0’. Otherwise its output must be ‘0’. The case where there are equal numbers of ‘0’ and ‘1’ (tie) in the inputs is not possible in this circuit.

1. Write the Boolean function implementing the “majority” circuit with 3 inputs.
2. Identify the inputs and outputs that will be used on the PLC. Note that the input and output hardware names depend on the hardware modules mounted in each of the PLCs.
	Inputs
	Identifier

	input1
	

	input2
	

	input3
	

	Outputs
	

	outp123
	


3. Write here the Ladder language program that implements the proposed solution.
4. Download and execute the program to the PLC. Comment on the results.

5. Search in the user manuals how to: i) denote the inputs as ‘input1’, ‘input2’, and ‘input3’ and the output as ‘outp123’; ii) force the inputs to different values, for debug purposes; iii) try to modify the program, while it is under execution.

6. Suggest one experiment to indicate the maximum frequency (or minimum response time) for the implemented majority circuit. Assume one has available a signal generator and an oscilloscope.
7. Suppose that a “majority” circuit with 9 inputs must be designed. Discuss if you can use three (first stage) plus one (second stage) of the circuits previously proposed to solve this new problem. Suggest an alternative solution.






� This training problem has no direct contribution to the final grade.





